## Sheet1
Number | Requirement | EVSE #1 | EVSE #2 | EVSE #3 | EVSE #4 | EVSE #5 | EVSE #6
1 | EVSE Overview
1.1 | Make of EVSE
1.2 | Model of EVSE
1.3 | Year of Release
2 | EVSE Necessities - Each EVSE charger must meet all requirements in this section or have an explanation deemed as valid by Santee Cooper as to why they do not meet the requirement
2.1 | EVSE is AC Level 2 (If not, please explain)
2.2 | EVSE is new (not refurbished or remanufactured)
2.3 | EVSE meets SAE J1772 standards (If not, please explain)
2.4 | EVSE can capture interval charging data at an interval of no longer than 30 minutes
2.5 | EVSE uses Open Charge Point Protocol or similar communication protocol that is not proprietary
2.6 | Santee Cooper will have sole ownership of data from the EVSE with no one-time or periodic costs or subscriptions necessary
2.7 | EVSE is available to be delivered to Santee Cooper within 60 days of a signed contract
2.8 | EVSE is pedestal mounted or can easily be pedestal mounted
2.9 | EVSE is rated by NEMA or an equivalent standard for outdoor use (If not NEMA, please state the standard and any necessary details)
2.10 | EVSE must be certified by Underwriters Laboratory (UL) or an equivalent safety standard
2.11 | EVSE meets Open ADR standards or uses an equivalent Demand Response interface
2.12 | EVSE includes all manufacturers' accessories that come standard with the charging station
2.13 | EVSE will only communicate and transfer data from the charging station at the sole discretion of Santee Cooper
2.14 | EVSE has the capability to distinguish between fleet vehicles and employee vehicles. Please explain.
2.15 | Describe all ways in which EVSE can communicate data to Santee Cooper. (Wi-Fi, Cellular, etc.)
2.16 | EVSE has the capability of receiving over the air updates to ensure charging compatibility with current and future electric and plug-in hybrid vehicles
3 | EVSE Specifications
3.1 | Denote the dimensions of the EVSE
3.2 | Denote the amperage of EVSE
3.3 | Explain the EVSE capability to have dual headed charging pedestals
3.4 | Explain the amperage of a dual headed charging pedestal. (i.e. Is amperage split between charging heads or does each charging head have dedicated amperage?)
3.5 | Denote the charging cable length
3.6 | Describe any cable retraction or cable organization system
3.7 | Explain the metering and accuracy of the metering within the EVSE
3.8 | Describe the warranty associated with the EVSE
3.9 | Denote the functional operating temperature range
3.10 | Describe any operating humidity constraints
3.11 | Describe the capability of the EVSE to be branded with a company logo
3.12 | Describe tamper or vandalism-proof features that this EVSE has
3.13 | Attach up to 3 pictures for each make and model. If pictures will be attached please answer this question with "Attached." If no pictures are available, please put "N/A" in these cells
3.14 | Describe a recommended maintenance plan that includes a list of the maintenance that is performed and the length of the maintenance plan. Feel free to attach a separate file if needed.
3.15 | Describe any option for Santee Cooper to retrieve data from the EVSE manually (e.g. using a flash drive to get interval data from charger.) This does not include Wi-Fi or cellular. If there is no option for manual retrieval, please put "N/A"
3.16 | Describe any options to upgrade to a rugedized salt corrosive (or similar) version of the EVSE for locations that are close to the ocean to ensure longevity of the EVSE
3.17 | Please make note of any additional information you would like Santee Cooper to know that differentiates yourself or your product from other vendors